## Slide 1: S78 polarity checks during injection test 24.08.2008 8:07-10:00 (on momentum) 19:20-21:05 (off momentum)
Rama Calaga, Verena Kain, Mike Lamont,
Laurette Ponce, Rogelio Tomas,
Frank Zimmermann

## Slide 2
conditions
low intensity 2x109
net momentum offset Dp/p~+2.6x10-3,
4-5 x larger than for S23!
kicks 20 mrad (morning) – 2x larger than S23
40 mrad (evening) – 4 x larger than S23
help from Rama, Rogelio, Laurette
sufficient time kindly granted by Brennan
analysis ongoing (slowed down by SPS MDs)

## Slide 3
polarity checks
data taken for following S78 beam-2 circuits:
RSD1&2, RSF1&2, MCS, MSS (soff-momentum)
QTL11L8, QT12L8, QT13RL8
MQS
OD, OF (on and off-momentum)
Basic procedure:
launch betatron oscillations with single orbit corrector
change strength or polarity of circuit under investigation, and take four orbits: oscillation for new strength , oscillation for old strength , reference orbit new strength, reference orbit old strength
for sextupole circuits change momentum offset of injected beam

## Slide 4
both signs of b3 spool pieces

## Slide 5
plot difference to reveal effect of b3 spool pieces
excellent agreement with model → MCS correct sign & strength

## Slide 6
effect of skew sextupoles
excellent agreement with model → MSS correct sign & strength

## Slide 7
slightly worse agreement with model towards the end -
beam scraping, noise or some problem in x?
effect of OF Landau octupoles

## Slide 8: preliminary conclusions
see clear effect of OD, OF, MSS, MCS, SF, SD circuits
excellent agreement between measurement and expectation for MCS, MSS and OF → correct sign & strength
… data analysis still ongoing