| COST ESTIMATE BREAKDOWN |
| --- |
| Click here to access to the guidelines | Responsible | Group | Date | Estimate CHF |
| 1 | CIVIL ENGINEERING | Jose MIRANDA | ST/TFM | Jan 16, 2002 | 446’000 |
| 1.1 | Démolition maçonnerie |  |  |  | 85’000 |
| 1.2 | Menuiserie : portes & cloisons |  |  |  | 30’000 |
| 1.3 | Serrurerie métal : portes, rampe & escalier |  |  |  | 25’000 |
| 1.4 | Faux-plancher |  |  |  | 190’000 |
| 1.5 | Peinture, y compris reconditionnement sol |  |  |  | 60’000 |
| 1.6 | Faux-plafond |  |  |  | 16’000 |
| 1.7 | Divers : 10 % |  |  |  | 40’000 |
| 2 | HEAVY HANDLING & TRANSPORT |  |  |  |  |
| 2.2 | Pulley blocks |  |  |  |  |
| 3 | ELECTRICAL INSTALLATIONS | Anne FUNKEN | ST/EL | Jan, 2001 | 370’00 |
| 3.0 | Dismantling of existing installation |  |  |  | 12’000 |
| 3.1 | High voltage installations | - |  |  | - |
| 3.2 | Low voltage installations |  |  |  | 239’100 |
| 3.3 | Monitoring and control |  |  |  | 27’000 |
| 3.4 | Lighting systems |  |  |  | 39’000 |
| 3.5 | Safety systems |  |  |  | 4’650 |
| 3.6 | Auxiliary systems : cable trays |  |  |  | 20’800 |
| 3.7 | Control cabling for accelerators and exp. | - |  |  | - |
| 3.8 | Optical fibre installations | IT |  |  | IT |
| 3.9 | Divers |  |  |  | 27’450 |
| 4 | COOLING AND VENTILATION | Jukka LINDROOS | ST/CV |  | 500’000 |
| 4.0 | Dismantling of existing installation |  |  | Nov 16, 2001 | 50’000 |
| 4.1 | Cooling (liquid) |  |  | Aug 15, 2001 | 90’000 |
| 4.2 | HVAC facilities (Heating Ventilation and AC) |  |  | Aug 15, 2001 | 200’000 |
| 4.3 | Smoke extraction system |  |  | Aug 15, 2001 | 80’000 |
| 4.4 | Electricity and controls |  |  | Aug 15, 2001 | 50’000 |
| 4.5 | Miscellaneous |  |  | Aug 15, 2001 | 30’000 |
| 5 | ALARM AND ACCESS |  |  |  |  |
| 5.1 | Access to radiation areas | - |  |  | - |
| 5.2 | Access to CERN domain | Nino RAMA | ST/AA |  |  |
| 5.3 | Fire detection system | Denis RAFFOURT | ST/AA | Oct 26, 2001 | 132’500 |
| 5.4 | Gas detection system | - |  |  | - |
| 5.5 | Evacuation system | - |  |  | - |
| 6 | MONITORING AND OPERATION | R. BARTOLOME | ST/MO |  |  |
| 6.1 | Technical Data Monitoring Equipment |  |  |  |  |
| 6.2 | Safety Alarms Monitoring Equipment |  |  |  |  |
| 7 | OTHER |  |  |  |  |
| 7.1 | Maintenance | - |  |  |  |
| 7.2 | Cleaning | X |  |  |  |
| 7.3 | Waste removal | - |  |  |  |
| 7.4 | Site clearance | - |  |  |  |
| 7.5 | Property management | - |  |  |  |
| 7.6 | Landscaping | - |  |  |  |