| COST ESTIMATE BREAKDOWN |
| --- |
| Click here to access to the guidelines | Responsible | Group | Date | Estimate (CHF) |
| 1 | CIVIL ENGINEERING |  |  |  |  |
| 1.1 | Special work |  |  |  |  |
| 1.2 | Earthworks, drainage |  |  |  |  |
| 1.3 | Civil works |  |  |  |  |
| 1.4 | Finishing works |  |  |  |  |
| 1.5 | Miscellaneous. |  |  |  |  |
| 1.6 | Fees |  |  |  |  |
| 2 | HEAVY HANDLING & TRANSPORT |  |  |  |  |
| 2.1 | Overhead travelling cranes |  |  |  |  |
| 2.2 | Pulley blocks |  |  |  |  |
| 2.3 | Doors |  |  |  |  |
| 2.4 | Lifts |  |  |  |  |
| 3 | ELECTRICAL INSTALLATIONS | A. Funken | ST/EL | 21/03/02 | 3’367’400 |
| 3.1 | High voltage installations (Transformers, 18kV Cubicles & Protections, 18kV links) |  |  |  | 782’700 |
| 3.2 | Low voltage installations (LV switchboards, 48Vdc system, UPS systems, auxiliary supply-crates) |  |  |  | 1’817’200 |
| 3.3 | Monitoring and control (Substation supervision, normal/safety control system) |  |  |  | 130’000 |
| 3.4 | Safety systems (Emergency stop system, substation safety lighting) |  |  |  | 37’500 |
| 3.5 | Works (equipment installation, cabling & connections, dismantling of existing LV installations, lighting & sockets boxes) |  |  |  | 600’000 |
| 4 | COOLING AND VENTILATION |  |  |  |  |
| 4.1 | Cooling (liquid) |  |  |  |  |
| 4.2 | HVAC facilities (Heating Ventilation and AC) |  |  |  |  |
| 5 | ALARM AND ACCESS |  |  |  |  |
| 5.1 | Access to radiation areas |  |  |  |  |
| 5.2 | Access to CERN domain |  |  |  |  |
| 5.3 | Fire detection system |  |  |  |  |
| 5.4 | Gas detection system |  |  |  |  |
| 5.5 | Evacuation system |  |  |  |  |
| 6 | MONITORING AND OPERATION |  |  |  |  |
| 6.1 | Technical Data Monitoring Equipment |  |  |  |  |
| 6.2 | Safety Alarms Monitoring Equipment |  |  |  |  |
| 7 | OTHER |  |  |  |  |
| 7.1 | Maintenance |  |  |  |  |
| 7.2 | Cleaning |  |  |  |  |
| 7.3 | Waste removal |  |  |  |  |
| 7.4 | Site clearance |  |  |  |  |
| 7.5 | Property management |  |  |  |  |
| 7.6 | Landscaping |  |  |  |  |